## Slide 1: INTRO TO BLOCKCHAIN AND HYPERLEDGER
REGULATION RESEARCH & IMPLEMENTATION - challenge 1
USE CASE: MEDICAL DEVICE TRACKING REQUIREMENTS AS PER [21 CFR Part 821]

## Slide 2: Contents
Selected Use Case
    Regulation
    Stakeholders - Obligations & Responsibilities
Solution
    Model: Participants, Assets & Transactions
    Workflow
Implementation
    Tools
    Code Structure
Demo
    Video/Prototype Walkthrough

## Slide 3: Selected Use Case for this challenge
Manufacturer
Distributor
Final Distributor
Patient
FDA
Medical Device
Example
Single Use Device
Heart valve
Pacemaker
Pulse generator
Multiple Use Device
Defibrillator
Monitor, breathing frequency
  Code of Federal Regulations Reference:
  CFR Part 821 : MEDICAL DEVICE TRACKING REQUIREMENTS
  Title 21 : FOOD AND DRUGS
  Chapter 1 : FOOD AND DRUG ADMINISTRATION
  (DEPARTMENT OF HEALTH AND HUMAN SERVICES)
  Sub-Chapter H : MEDICAL DEVICES
  Source: https://www.gpo.gov/fdsys/browse/collectionCfr.action?selectedYearFrom=2017&go=Go
USE CASE: MEDICAL DEVICE TRACKING REQUIREMENTS AS PER [21 CFR Part 821]
Manufacturers are required to:
  Track certain devices from their manufacture facility through the distribution chain up to patient level when they receive an order from the (FDA) agency to implement a tracking system for a certain type of (class II & III) medical device
  Report critical information about the location of a tracked device within a short time frame. Manufacturers will have 3 working days to provide critical information about devices that have not yet been distributed to a patient and 10 working days for devices that have been distributed to patients
  Audit periodically verify that the tracking method actually works and that the information collected is accurate
Effective tracking of devices from the manufacturing facility, through the distributor network and, ultimately, to the patient is necessary for the effectiveness of remedies prescribed by the agency (FDA), such as: patient notification (or) device recall

## Slide 4: Selected Use Case for this challenge
Manufacturer
Distributor
Final Distributor
Patient
FDA
Medical Device
Example
Single Use Device
Heart valve
Pacemaker
Pulse generator
Multiple Use Device
Defibrillator
Monitor, breathing frequency
MEDICAL DEVICE TRACKING REQUIREMENTS – Stakeholders, Obligations & Responsibilities
FDA
  Issue device tracking order to manufacturer
  Order critical information from manufacturer about the location of a tracked device
  Order mandatory recalls and require notification of health professionals and patients
Manufacturer
  Adopt a device tracking method to ensure traceability from the device manufacturing facility, through the distribution network to the patient.
  Ensure that the tracking system works
  On demand report to FDA of critical information of a tracked device:
    Within 3 days - prior to the distribution of a tracked device to a patient: the Unique Device Identifier (UDI), other device identifier details & Distributor details.
    Within 10 days - after distribution to or implantation in a patient: the Unique Device Identifier (UDI), other device identifier details, Final distributor (physician) details & Patient details.
Distributors & Final Distributors
  Promptly provide the manufacturer tracking the device with the following information: distributor contact details, device details, physician (final distributor) & patient details
Patient
  Patient opt-in or opt-out to release personal information for tracking purposes

## Slide 5: Solution
Tracked
Medical Device
Model: Participants, Assets & Transactions
Manufacturer
Regulator
Distributor
Final Distributor
Patient
Tracked Product
Tracked
Medical Device
Tracked
Medical Device
Medical Device
manufacture
accept shipment custody
ship devices
distribute device
Implant device
accept device
custody
Use device
(product type)
Issue device tracking order

## Slide 6: Implementation
Tools
  Hyperledger Fabric
  Hyperledger Composer [https://composer-playground.mybluemix.net/editor]
Source Code
  medical-device-tracking.bna

## Slide 7: Demo

## Slide 8
Medical Devices Registry
Participant Registry
Product Registry
FD1_ALICE
FD2_GEMMA
FD3_ABC
DIST1
DIST2
DIST3
ALPHA
BETA
FDA
BOB
CHARLIE
DOUG
ELAN
FIN
Regulator
Manufacturer
Distributor
Final
Distributor
Patient
UDI_51
UDI_52
UDI_53
UDI_54
“MRM”
UDI_52
UDI_53
UDI_54
UDI_52
UDI_52
Demo
Demo
Demo

## Slide 9: Thank You!
Natarajan Chandrasekhar
natarajan1.c@outlook.com